## IO List
Tag Number | Instrument Type | Service Description | Area | IO Type | Loop Number | P&ID Reference | Remarks
PP01-364-TIT0001 | TIT | Lube Oil Temperature | 364 | AI
PP01-364-TIT0002 | TIT | Bearing Temperature A | 364 | AI
PP01-364-TIT0003 | TIT | Bearing Temperature B | 364 | AI
PP01-364-TIT0004 | TIT | Exhaust Gas Temperature | 364 | AI
PP01-364-PIT0001 | PIT | Lube Oil Pressure | 364 | AI
PP01-364-PIT0002 | PIT | Fuel Gas Pressure | 364 | AI
PP01-364-PDT0001 | PDT | Filter Differential Pressure | 364 | AI
PP01-364-FIT0001 | FIT | Fuel Gas Flow | 364 | AI
PP01-364-LIT0001 | LIT | Lube Oil Tank Level | 364 | AI
PP01-361-ZSO0001 | ZSO | MOV-001 Open Position | 361 | DI
PP01-361-ZSC0001 | ZSC | MOV-001 Closed Position | 361 | DI
PP01-361-ZSO0002 | ZSO | MOV-002 Open Position | 361 | DI
PP01-361-ZSC0002 | ZSC | MOV-002 Closed Position | 361 | DI
PP01-361-PSH0001 | PSH | High Pressure Alarm | 361 | DI
PP01-361-PSL0001 | PSL | Low Pressure Alarm | 361 | DI
PP01-361-LSH0001 | LSH | High Level Alarm | 361 | DI
PP01-361-LSL0001 | LSL | Low Level Alarm | 361 | DI
PP01-512-FCV0001 | FCV | Flow Control Valve | 512 | AO
PP01-512-PCV0001 | PCV | Pressure Control Valve | 512 | AO
PP01-512-LCV0001 | LCV | Level Control Valve | 512 | AO
PP01-512-XV0001 | XV | Isolation Valve | 512 | DO
PP01-512-XV0002 | XV | Bypass Valve | 512 | DO
PP01-512-SDV0001 | SDV | Emergency Shutdown Valve | 512 | DO